## Hoja1
ETL TX CHECK TEST REPORT
Date, Time:
Profile: |  | Standard
Filename: |  | TxCheck1
Operator: |  |  |  |  | Test Receiver:
Name: |  |  |  |  | Manufacturer: |  | Rohde&Scwarz
Department: |  |  |  |  | Device: |  | ETL-3
Phone Number: |  |  |  |  | Serial Number:
Commentary:
ETL SETTINGS
TV/Radio Standard: |  |  | OFDM DVB-T2
RF [MHz]:
Channel Bandwidth: |  |  | 6 MHz
Imput Impedance:
Level Unit: |  |  | dBuV
Sideband Position: |  |  | Normal
Auto/Preamble Detect: |  |  | x
Use SI Detection: |  |  | x
System Optimization: |  |  | Slow/Laboratory
Symbol Loop: |  |  | Medium
FFT Window Pos: |  |  | Auto
FFT Window Offset: |  |  | 0 |  | % of guard interval
10 MHz Reference: |  |  | Internal
Measurement Results
|  | Measurement |  | Poor | Excelent |  | Weight | Result
[x] Overview Measurements
[x] Sync Lock |  |  |  | No | Yes |  |  |  |  | Resultado | Desempeño | Puntos
[x] Level |  | 0 | dBuV | ± 35.0 dB |  | 83.8 dBuV | 70 |  | points
|  |  |  | 0% |  |  |  | #DIV/0!
[x] Carrier Freq Offset |  | 0 | Hz | ± 30000 Hz |  | 0 Hz | 20 |  | points
|  |  |  | 0% |  |  |  | #DIV/0!
[x] Bit Rate Offset |  | 0 | ppm | ± 20.0 ppm |  | 0.0 ppm | 20 |  | points
|  |  |  | 0% |  |  |  | #DIV/0!
[x] MER(L1,rms) |  | 0 | dB | 24.0 dB |  | 43.0 dB | 20 |  | points
|  |  |  | 0% |  |  |  | #DIV/0!
[x] MER(L1,peak) |  | 0 | dB | 10.0 dB |  | 28.0 dB | 20 |  | points
|  |  |  | 0% |  |  |  | #DIV/0!
[x] MER(PLP,rms) |  | 0 | db | 24.0 dB |  | 43.0 dB | 20 |  | points
|  |  |  | 0% |  |  |  | #DIV/0!
[x] MER(PLP,peak) |  | 0 | db | 10.0 dB |  | 28.0 dB | 20 |  | points
|  |  |  | 0% |  |  |  | #DIV/0!
[x] EVM(PLP,rms) |  | 0 | % | 4.40 % |  | 0.50 % | 20 |  | points
|  |  |  | 0% |  |  |  | #DIV/0!
[x] EVM(PLP,peak) |  | 0 | % | 22.00 % |  | 2.50 % | 20 |  | points
|  |  |  | 0% |  |  |  | #DIV/0!
[x] Amplitude |  | 0 | dB | 3.00 dB |  | 0.10 dB | 45 |  | points
|  |  |  | 0% |  |  |  | #DIV/0!
[x] Phase |  | 0 | ° | 45.00 ° |  | 0.50 ° | 45 |  | points
|  |  |  | 0% |  |  |  | #DIV/0!
[x] Group Delay |  | 0 | ns | 300.00 ns |  | 6.00 ns | 45 |  | points
|  |  |  | 0% |  |  |  | #DIV/0!
[x] Amplitude Imbalance |  | 0 | % | ± 2.00 % |  | 0.00 % | 60 |  | points
|  |  |  | 0% |  |  |  | #DIV/0!
[x] Quadrature Error |  | 0 | ° | ± 2.00 ° |  | 0.00 ° | 60 |  | points
|  |  |  | 0% |  |  |  | #DIV/0!
[x] Carrier Suppression |  | 0 | dB | 15.0 dB |  | 50.0 dB | 60 |  | points
|  |  |  | 0% |  |  |  | #DIV/0!
[x] BER before LDPC |  | 0 |  | 1.0e-2 |  | 1.0e-11 | 20 |  | points
|  |  |  | 0% |  |  |  | #DIV/0!
[x] BER before BCH |  | 0 |  | 1.0e-5 |  | 1.0e-11 | 20 |  | points
|  |  |  | 0% |  |  |  | #DIV/0!
[x] BBFRAME Error Ratio |  | 0 |  | 1.0e-10 |  | 1.0e-11 | 20 |  | points
|  |  |  | 0% |  |  |  | #DIV/0!
[x] Errored Second Ratio |  | 0 | % | 10.0 % |  | 0.0 % | 20 |  | points
|  |  |  | 0% |  |  |  | #DIV/0!
[x] Packet Error Ratio |  | 0 |  | 1.0e-7 |  | 1.0e-11 | 80 |  | points
|  |  |  | 0% |  |  |  | #DIV/0!
[x] Shoulder Att Lower |  | 0 | dB | 35.0 dB |  | 53.0 dB | 65 |  | points
|  |  |  | 0% |  |  |  | #DIV/0!
[x] Shoulder Att Upper |  | 0 | dB | 35.0 dB |  | 53.0 dB | 65 |  | points
|  |  |  | 0% |  |  |  | #DIV/0!
ETL Graphics
[x] Overview |  |  |  |  | [x] Spectrum
[x] Constellation |  |  |  |  | [x] CCDF
[x] Amplitude and Phase |  |  |  |  | [x] Amplitude and Group Delay
[x] Echo Pattern |  |  |  |  | [x] MER(f)
[x] L1-pre Signalling |  |  |  |  | [x] L1-post Signalling 1
[x] L1-post Signalling 2 |  |  |  |  | [x] L1-post Signalling 3
WARNINGS
The following measurements are out of limit(s):
SUMMARY
| Taken into account: |  |  |  | 23 | measurements
| Sum result: |  |  |  | 0 | points of total |  | 835
ETL TxCheck Quality Value: 0%
0%